ENVIRONMENTAL HEALTH ● CUPA

915 8th Street, Suite 123, Marysville

530-749-5450 ● Fax 530-749-5454

DISINFECTION OF PRIVATE WELLS

The purpose of disinfection is to destroy harmful organisms. The type and extent of disinfection used is determined by the source and condition of the water to be treated. Both CHLORINE RESIDUAL and CONTACT TIME are essential to effectively kill pathogenic microorganisms.

PROCEDURES

Wells recently constructed or repaired, or wells that have been flooded or otherwise contaminated must be thoroughly disinfected before being put to use. The following procedure should be performed to disinfect a well prior to using it for drinking water.

Warning:  There is danger of electrical shock & damage to the well or pump if they have been flooded

- Pump well water to the ground surface until a sample of water collected in a clean, clear container appears relatively clear and is not discolored.

- Stop pump.

- Add household chlorine bleach (i.e., Clorox, Purex, etc.) directly into the well casing based on the table below. Do NOT use scented bleach or any swimming pool products containing stabilized chlorine.

- Allow well to stand for 30 minutes to permit chlorine to mix in well water, then surge well by alternately starting and stopping pump in order to wash down the inside of the casing and the drop line with chlorinated water. If possible, use some of the heavily chlorinated water pumping from the well to wash down the inside of the well casing (using a hose fastened to faucet near the well or pressure tank). This can be done by directing water back into the well through the chlorination opening at the wellhead (usually a ½” pipe plug located in the pump base or in the split ring seal used with submersible pumps).

- Open taps at the farthest end of the system & at “dead ends” until chlorine odor is detected, then close.

- Let the chlorinated water remain in the well, storage tank, & any piping in the house for at least 24 hrs.

- Pump well water to the ground surface or a waste line until there is no chlorine odor in the water & a test shows no chlorine residual is present.

- The water should then be tested for coliform bacteria to be sure that it is safe for drinking.

Disinfection of Well Casing or Water Pipe

| Chlorine compound required to dose 100 feet of pipe at 50 parts per million (ppm) |  |  |  |
| --- | --- | --- | --- |
|  | Chlorine Compound |  |  |
| Diameter of Pipe Casing (in inches) | 65% Available Chlorine (Calcium Hypochlorite) | 25% Available Chlorine (Chloride of Lime) | 5.25% Sodium Hypochlorite (Household Bleach) |
| 2 | ¼ ounce | ½ ounce | 2 ounces |
| 4 | 1 ounce | 2 ounces | 9 ounces |
| 6 | 2 ounces | 4 ounces | 20 ounces |
| 8 | 3 ounces | 7 ounces | 2 ⅛ pints |
| 10 | 4 ounces | 11 ounces | 3 ½ pints |
| 12 | 6 ounces | 1 pound | 5 pints |
| 16 | 10 ounces | 1 ¾ pounds | 1 gallon |
| 20 | 1 pound | 3 pounds | 1 2/3 gallons |
| 24 | 1 ½ pounds | 4 pounds | 2 1/3 gallons |