Government Center 915 8th Street, Suite 123

Marysville, California 95901-5273

(530) 749-5450 Fax (530) 749-5454

APPLICATION FOR A PERMIT TO CONSTRUCT,

REPAIR, INACTIVATE, OR DESTROY A WELL OR SOIL BORING

| Site location |  |
| --- | --- |
| Nearest cross street | Assessor’s Parcel # |
| Owner Name |  |
| Mailing Address | Phone # |
| Drilling Company | License # |
| Mailing Address | Phone # |
| Consulting Firm (if applicable) | Phone # |

| PERMITTED ACTIVITY |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
| CONSTRUCT WELL | DESTROY WELL |  | OTHER: |  |  |  |
| DEEPEN WELL | INACTIVATE WELL |  |  |  |  |  |
| REPAIR WELL | TEST HOLE/SOIL BORING: |  | # of holes/soil borings: |  |  |  |
| INTENDED USE |  |  |  | TYPE OF DRILING EQUIPMENT |  |  |
| DOMESTIC/PRIVATE | INDUSTRIAL |  |  | CABLE TOOL |  |  |
| PUBLIC WATER SUPPLY | MONITORING: | # of MWs: |  | ROTARY |  |  |
| IRRIGATION | OTHER: |  |  | OTHER: |  |  |

WELL LOCATED WITHIN AN EXISTING PUBLIC WATER SYSTEM BOUNDARY:  YES	 NO	PWS NAME

| CONSTRUCTION SPECIFICATIONS |  |  |  |
| --- | --- | --- | --- |
| BOREHOLE | Diameter: |  | FILTER PACK: Yes No MATERIAL: ____________________ INTERVALS: __________________ __________________ SCREEN: Yes No INTERVALS: ________________ __________________ |
| SEAL OF ANNULAR SPACE | Material: | Expected Depth: |  |
| CASING | Diameter: | Expected Depth: |  |
| TYPE | Steel PVC |  |  |
| Gauge of steel or PVC type (must meet ASTM F-480) |  |  |  |
| CONDUCTOR | Diameter: | Expected Depth: |  |

| WELL OR TEST HOLE/SOIL BORING DESTRUCTION |  |
| --- | --- |
| Diameter of casing/borehole: | Depth of casing/borehole: |
| Fill material & depth: | Seal Material & depth: |

- I will comply with all codes, rules, and regulations of the State of California and County of Yuba pertaining to or regulating well construction.

- I will call for a grout inspection appointment at least 24 hours prior to pouring.

- I will submit a water well driller’s report to the Yuba County Environmental Health Department within 15 days of completion.

- I will obtain final approval before placing the well in service.

- I will maintain the required minimum setbacks to all existing or proposed sewage disposal areas and to all other sources of contamination.

- All materials used shall meet manufacturer’s specifications.

- All required water sample results will be submitted to Yuba County Environmental Health prior to final approval.

The base fee for this service has been calculated for the minimum number of hours of work multiplied by the hourly rate as determined by Chapter 13 of the Yuba County Fee Ordinance. The work on which the fee is based includes but may not be limited to file research, plan review, travel time, site review, and field inspections. The Yuba County Environmental Health Department will make every effort to keep the time spent within the hours covered by the base fee.  However, due to the individual nature of each project, it may become necessary to spend additional time beyond that which is covered by the base fee. If additional time is necessary, I understand that I will be sent an itemized bill for that time in half-hour increments charged at the rate determined by the fee ordinance. I agree to pay all costs associated with this service or permit. Hourly rate services not covered by a base fee will be charged in half-hour increments at the rate determined by the fee ordinance (one-hour minimum) and must be paid at the time services are requested.

DRILLING CONTRACTOR SIGNATURE								DATE

| FOR OFFICE USE ONLY |  |  |  |
| --- | --- | --- | --- |
| Fees Paid $ | Invoice # | Date | WP# |