Mike Lee

Director – Community Development & Services Agency

Clark Pickell

Director – Environmental Health & CUPA

Government Center 915 8th Street, Suite 123

Marysville, California 95901-5273

(530) 749-5450 Fax (530) 749-5454

| System Information: |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Name of Utility: |  |  |  | System Number: |  |
| Street Address: |  |  |  | Phone No. |  |
| Mailing Address: |  |  |  | Email: |  |
| Service Connections: |  | Population Served: |  | Sampling Frequency: |  |

BACTERIOLOGICAL SAMPLE SITING PLAN

| Sample Collection: |  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| All water samples will be collected by: |  |  |  |  |  |  |  |  |
| Name of Laboratory: |  |  |  |  |  |  |  |  |
| Mailing Address: |  |  |  |  |  |  |  |  |
| State Lab Code: |  |  | Phone No. |  |  |  | Fax No. |  |
| The Laboratory was sent a copy of this plan on: |  |  |  |  |  |  |  |  |
| Raw Water Sampling: |  |  |  |  |  |  |  |  |
| Is water continuously chlorinated? |  |  |  | ☐ YES ☐ NO (if no, ignore this section) |  |  |  |  |
| Systems which provide continuous chlorine treatment are required to take samples of water prior to the addition of chlorine (raw water samples) on a quarterly basis. Please list below the sources which are continuously treated and the months when raw water samples will be taken: |  |  |  |  |  |  |  |  |
| Source(s): |  |  |  | Months Sampled: |  |  |  |  |
| Source(s): |  |  |  | Months Sampled: |  |  |  |  |
| Source(s): |  |  |  | Months Sampled: |  |  |  |  |
| Source(s): |  |  |  | Months Sampled: |  |  |  |  |
| Map of System: |  |  |  |  |  |  |  |  |
| A map of the distribution system showing the source (well, spring, etc.), storage tanks, treatment facilities, distribution piping, routine sample locations, and follow-up (repeat) sample locations is required. |  |  |  |  |  |  |  |  |
| Have you enclosed this map? |  |  |  | ☐ YES ☐ NO |  |  |  |  |

BACTERIOLOGICAL SAMPLE SITING PLAN (Cont.)

| Sample Locations: |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| The following describes each routine sample location, what months the location will be sampled, and where follow-up (repeat) samples will be taken in the event of a “positive” routine sample: |  |  |  |  |  |  |  |
| Routine Sample Location/description |  |  |  | Repeat Sample Locations/descriptions |  |  |  |
| 1. Routine Sample |  |  |  | 1. Routine Sample |  |  |  |
| Routine samples will be collected from this location during the following months: |  |  |  | (hose bib, sink faucet, etc.) |  |  |  |
|  |  |  |  | 2. Upstream Sample |  |  |  |
| 1st Qtr. | ☐ Jan. ☐ Feb. ☐ Mar. |  |  | (hose bib, sink faucet, etc.) |  |  |  |
| 2nd Qtr. | ☐ Apr. ☐ May. ☐ Jun. |  |  | 3. Downstream Sample |  |  |  |
| 3rd Qtr. | ☐ Jul. ☐ Aug. ☐ Sep. |  |  | (hose bib, sink faucet, etc.) |  |  |  |
| 4th Qtr. | ☐ Oct. ☐ Nov. ☐ Dec. |  |  | 4. Source Water Sample (Triggered GWR) |  |  |  |
| Sampling Rules: |  |  |  |  |  |  |  |
| Ground Water Rule (GWR) sampling: According to the Ground Water Rule (GWR), within 24 hours of notification of a total coliform-positive routine sample, the water system will collect at least one ground water source sample from each ground water source in use at the time the total coliform-positive routine sample was collected. Each GWR sample must be tested for E. Coli, and the well must be running when the sample is collected. |  |  |  |  |  |  |  |
| Revised Total Coliform Rule - Level 1 Assessment: If a water system collects less than 40 routine and repeat samples per month, a Level 1 Assessment is required within 30 days if more than 1 total coliform positive sample is detected in a month. The same requirement is true for systems that collect 40 or more routine and repeat samples in a month and more than 5% of the samples are total coliform positive in that month. |  |  |  |  |  |  |  |
| Following month routine sampling – For Transient Non-Community Systems performing Quarterly Routine Samples: In the month following one or more total coliform positive samples (with or without a Level 1 treatment technique exceedance) collect at least three routine samples. |  |  |  |  |  |  |  |
| Preparer / Signature: |  |  |  |  |  |  |  |
| Report prepared by: |  |  |  |  |  |  |  |
| Signature: |  |  |  |  | Date: |  |  |
| Title: |  |  |  |  |  |  |  |
| LPA Staff Reviewer: |  |  |  |  | Date: |  |  |
| Signature: |  |  |  |  |  |  |  |
| Title |  |  |  |  |  |  |  |